Rationale behind using stress cardiac MRI over nuclear stress imaging for ischemia evaluation – current understanding and changing trends.

Introduction:

Evaluating cardiac ischemia and timely intervention helps preventing catastrophic effect of coronary artery disease. Clinical and electrocardiographic (ECG) evaluations are not always optimal to assess cardiac ischemia. In fact, stress echocardiography is also significantly limited for this. While conventional catheter angiography remains the gold standard for diagnosis and management of an acute ischemic event, there are several noninvasive modalities for patients with chronic ischemic heart disease. These include stress echocardiography, treadmill ECG, and nuclear perfusion. More recently, coronary computed tomography angiography (CTA) has gained lot of importance as it has an advantage of detecting coronary anatomy and stenosis. However, perfusion imaging is one of the modality to evaluate physiologic effect of the vascular stenosis seen in CTA. In many places, nuclear stress imaging is currently one of the commonest investigations to image chronic ischemic heart disease, stable angina etc. With the continued advancement of pulse sequences, hardware and image reconstruction methods cardiac MRI (Magnetic Resonance Imaging) perfusion scans play an important role in current day practice.

Indications of Cardiac MRI Stress Perfusion –

Commonest indication of stress cardiac MRI is for evaluation of patients with chest pain syndromes who have intermediate probability of coronary artery disease (CAD).

Some other indications are –

- Chronic angina

- Patient with possible non-ischemic cardiomyopathy to rule out ischemic cause

- When other imaging modalities are contraindicated (e.g. poor echocardiography window in obese patients)

Contraindications of Cardiac MRI Stress Perfusion –

Absolute:

- Asthma (ongoing wheezing). However, there are reports of performing adenosine stress test in asthma patients who are adequately controlled. Bronchodilator inhalers are commonly used as premedication.

- Heart block – second or third degree.

- Medications –

  - Dypridamole – stopped for 24 hours before study.

  - Methylxanthenes and products containing Methylxanthenes (coffee) – stopped for 12 hours before study.

- Previous severe allergy to adenosine.

- Systolic blood pressure less than 90 mmHg.

- Unstable angina or ACS (acute coronary syndrome).

Relative:

Sinus bradycardia with a heart rates < 40 beats/minutes

Performing a stress cardiac MRI –

- Patient preparation –

  - Patient should be empty stomach for 2 hours before the test. As already mentioned, patient should not drink any caffeine-containing drinks for at least 12 hours prior to testing.

  - Electrocardiography – before and after test.

  - Nurse should evaluate vitals including Pulse, Respiratory rate, Temperature, Blood pressure etc.

  - Check for any metallic devices or foreign body.

- Contrast – For evaluation of cardiac perfusion contrast injection is necessary. The perfusion technique is based on passage of an intravenous injection of bolus gadolinium through myocardium. Gadolinium lowers the T1 property of tissues and gives bright signal on perfusion images (1). Hence, perfused areas will be relatively bright as compared to the areas with decreased or absent perfusion. This also depends on amount of gadolinium extraction, which is around 0.5 for extracellular gadolinium contrast agents (2). Myocardial perfusion can be evaluated with cardiac MRI in both qualitative and quantitative methods. There are currently established intravascular contrast agents for cardiac MRI stress perfusion (3).

- MRI Pulse sequences – As mentioned earlier, T1 contrast is affected significantly due to presence of gadolinium and MR perfusion images are heavily T1 weighted sequences to take advantage of this property. Images are acquired rapidly in the R-R interval with cardiac gating. Depending on the heart rate the R-R interval varies, and 3 to 5 slice locations are possible to acquire perfusion images.  Images need to have good spatial resolution to detect subtle changes of perfusion in the subendocardial location. The information can be obtained with inversion recovery (IR) or nonselective saturation recovery (SR) sequences. SR sequences are commonly used due to shorter preparation time and possibility of doing multiple slices at the same time (4). With advancement of MRI techniques, parallel imaging is routinely used to have faster scanning and better coverage. 3 Tesla MRI is really helpful as compared to 1.5 Tesla scanners (5). Detailed description of pulse sequences is beyond the scope of this article and interest of this journal.

- Scanning Protocol – MRI stress perfusion imaging is usually done with other basic scans to evaluate cardiac function and delayed enhancement. Most commonly the agent used for stress imaging is adenosine (140 μg/kg/min) for duration of 2 to 4 minutes in a rate of 3 to 4 mL/s. A total of 40 – 60 dynamic image frames are obtained. Usually stress perfusion alone is adequate for evaluating ischemia. However, for evaluation of quantitative perfusion values similar perfusion images are also obtained at rest (without injection of adenosine). Stress perfusion can also be done using dobutamine. Some advanced centers are now trying treadmill stress for cardiac perfusion MRI (6).

- Evaluating images – Both quantitative and qualitative evaluations of stress images possible. Most of the centers worldwide use semi automated softwares for evaluating cardiac perfusion along with functional and delayed enhancement parameters. Overall sensitivity and specificity of evaluating cardiac ischemia using delayed enhancement, stress and rest images are 89% to 87% respectively (7). Different quantitative parameters can be evaluated with cardiac MRI including time to peak, upslope, peak myocardial enhancement and subepicardial to subendocardial gradient. Using deconvolution method, absolute quantification is possible (8). In general, darker areas in stress perfusion images without abnormal delayed enhancement and normal rest perfusion suggests areas of ischemia (Fig. 1).

Advantages of cardiac MRI over nuclear stress test –

- Cardiac MRI is much faster as compared to nuclear stress imaging. On an average, stress cardiac MRI examinations take 30-40 minutes and nuclear stress test takes about four hours.

- MRI is free of radiation. However, nuclear stress test exposes the patient to radiation.

- Cardiac MRI has significantly higher spatial resolution as compared to nuclear perfusion.

- Cardiac MRI provides absolute quantification of perfusion and also additional information including cardiac viability, function and morphology. These parameters are evaluated with cardiac MRI at a much higher resolution as compared to nuclear stress imaging or stress echocardiography.

- Cardiac stress MR has no significant operator dependence.

- Cardiac stress MR signal intensities are largely independent of patient’s body habitus.

- Cardiac stress MRI also evaluates myocardial viability similar to PET study without exposing the patient to radiation.

- MRI can give us alternative diagnosis, which may not be possible with other imaging modalities.

Limitation of cardiac MRI

- Dark rim artifact – Sometimes, presence of this artifact can mimic an area of perfusion abnormality (5). This artifact can be due to cardiac motion, limitation of resolution or susceptibility (9,10,11). This artifact usually disappears during the equilibrium phase of imaging.

- Limitation of rest perfusion if performed after stress – gadolinium retention in areas after stress perfusion limits evaluation of stress images. However, combined evaluation of delayed enhancement with perfusion imaging helps understanding rest perfusion images.

- Renal failure patient – Gadolinium is contraindicated in a patient with elevated creatinine and an estimated GFR of less than 30 due to the risk of a rare condition called nephrogenic systemic fibrosis, which may be life threatening (12). However, dobutamine stress MRI could still be an option. Newer T1 sequences are being developed which depict changes with adenosine stress without using Gd contrast (13).

How to use Cardiac stress MRI in clinical practice –

There are available guidelines in the literature for appropriate use of contrast enhanced cardiac MRI including stress MRI for evaluating ischemia (14). Adenosine stress MRI with intermediate risk patients for cardiac ischemia has a sensitivity of 0.91 (95% CI, 0.88 to 0.94) and specificity of 0.81 (95% CI, 0.77 to 0.85) (15). Another way to look at the usefulness of cardiac MRI is event rate in patients with known or suspected coronary artery disease. In this group of patient’s abnormal stress cardiac MRI has an event rate of 17% compared with 5% with a normal study (16). Another functional parameter for cardiac ischemia evaluation is measurement of Fractional Flow Reserve (FFR), either with catheter angiography or recently with Computed Tomography (CT). There is a good correlation of cardiac MRI perfusion with FFR by catheter angiography, helping to make a decision of managing cardiac ischemia noninvasively (17). There are studies comparing contrast enhanced cardiac MRI absolute perfusion reserve with Positron Emission Radiography (PET) and this may be a future direction for evaluating cardiac ischemia (18).